## Sheet1
Task | Description | Included (Yes/No) | QTY (If Aplicable) | Amount (If Aplicable)
01 | PRECONSTRUCTION
02 | Permit Set Estimate
03 | Conformed Set Estimate
04 | Constructability and Design Interface
05 | Coordination with Structure, Plumbing, Mechanical, Fire Sprinkler, Roofing, Low Voltage, Earthwork, Millwork
06 | Trade Permit
07 | Gear Testing & Studies Per Spec
08
09 | MOBILIZATION AND TEMP SUPPORT
10 | Mobilization & Trade Permits
11 | Gear Testing & Studies Per Spec
12 | Temporary Power & Lighting Package
13 | (4) Spider boxes for the duration of the job
14 | (15) LED fixtures for general lighting. No Task lighting included
15 | (1) power skid
16 | (1800lf) of temp power cord
17 | (3) Temp Power Poles at Site, Centrally Located, to support site security Cameras
18 | Temp power meter base for utility metering
19 | Temp power pathway for utility to temp power skid
20 | Temp power connection fees/permit
21 | (3) Temporary office trailer connections
22
23 | SITE POWER & LIGHTING
24 | Safe-off of Existing Building Prior to Demo
25 | Excavation / Trenching / Backfill / Compaction
26 | Patchback of Asphalt per City of Portland Requirements
27 | Unterground Utility Conduits (Telecom)
28 | Underground Utility Conduits (Primary & Secondary)
29 | Telecom Pathways to Site
30 | Secondary Raceways
31 | Transformer Tie-In work
32 | Direct Coordination With Utility Providers
33 | Light Poles
34 | Concrete Pole Bases, Space per LV
35
36 | BUILDING ELECTRICAL
37 | Distribution & Switchgear
38 | Service & Distribution
39 | Panels, Transformers and Switchgear
40 | Feeders
41 | Mechanical and Plumbing Equipment Connections
42 | Equipment Connections per Mechanical Equipment Schedule
43 | Trap Primers
44 | Water Heaters
45 | Ceiling Fans
46 | BAS Automation/Pathways
47
48 | Lighting & Brach Wiring
49 | Lighting Fixtures, Supply, Install
50 | Lighting Control System and Cooridnation
51
52 | Power & Branch Wiring
53 | Conduit, Receptacles, etc. Required for a Complete System
54 | Devices & Branches
55 | Miscellaneous Power
56 | Residential Appliances - Microwave, Diswasher, Refridgerator, etc.
57 | Dedicated Circuits as required at Data Rack
58 | Motorized Shade Power
59 | Projector / TV Power
60 | Power/Pathways per Door Scvhedule and Specification
61 | Floor Boxes
62 | Complete Grounding System
63 | Irrigation Controller
64 | Emergency Electrical, ATS
65 | Centralized UPS backup
66
67 | FIRE ALARM SYSTEM
68 | Complete Design-Build Fire Alarm System - Silent Night
70 | Voice Evacuation Notification
71 | Monitor Fire Sprinkler System
72 | Duct Detectors
73
74 | EMERGENCY DAS
75 | Complete Design Build Emergency Radio DAS
76 | Coordination of Radio Shaft to Roof
77
78 | LOW VOlTAGE
79 | Low-Voltage Rough-In
80 | AV Rough In
81 | CCTV Rough In
82 | Security Rough In
83 | Cabling/Pathways to All WAP's
84 | Coordinated & Installed above Ductwork
85 | Cabling Quantities as Required for all wall locations, computer stations (FF&E), AMH, and floor boxes.
86 | Pathways, Boxes, Power to, and Coordination per Responsibility Matrix
87
88 |  | Included/Specify |  | Amount
89 | Union/Non Union (Specify)
90 | Hoisting
91 | Clean-Up
92 | Insurance Requirements
93 | Addendum Aknowledgement (List)
94 | Hold Price (Days)
95 | Prequalification
96 | Executed Master Subcontract Agreement (Yes/No)
97 | Textura
98 | MWESB/COBID-Certified?
99 | Freight
100
101 | Total |  |  | 0